**Adapting the Chumbley Score to match striae on Land Engraved Areas (LEAs) of bullets**

June 29, 2018

**Abstract**

The same-source problem remains a major challenge in forensic toolmark and firearm examination. Technological advances in surface imaging allow measurements of 3D surfaces at previously unforeseen resolutions and enable digitized imaging. Here, we investigate the applicability of the Chumbley scoring method [(Hadler &](#_bookmark44) [Morris](#_bookmark44) [2017),](#_bookmark44) developed for screwdriver markings, for same-source identification of bullet striae. We provide methods to identify parameters that minimize the error rates for matching of LEAs using Hamby datasets 44 and 252 measured by NIST and CSAFE. We suggest a remedial algorithm to alleviate the problem of failed tests in the method, increasing both the power of the test and reducing error rates. Type II error rates of the proposed method improve by more than one third (Type I error of 0.05) and are on average about 0.22. This puts the proposed method on similar footing as other single feature matching approaches in the literature.

*Keywords:* forensic science, toolmark, cross-correlation, Mann-Whitney U statistic, land engraved areas (LEAs), algorithm, signatures, same-source problem

**Contents**

1. [Introduction](#_bookmark0) 3
2. [Methods](#_bookmark4) 7

[2.1 Scans for land engraved areas](#_bookmark5) . . . . . . . . . . . . . . . . . . . . . . . . . 7

[2.2 The Chumbley Score Test](#_bookmark7) . . . . . . . . . . . . . . . . . . . . . . . . . . . 8

* 1. [A problem with failed tests](#_bookmark10) 11
  2. [A modified approach](#_bookmark11) 12
  3. [Testing setup](#_bookmark12) 12
     1. [The Data](#_bookmark13) 12
     2. [Setup](#_bookmark15) 13

1. [Results](#_bookmark16) 13
   1. [Failed Tests](#_bookmark17) 13
   2. [Coarseness](#_bookmark19) 14
   3. [Error rate assessment](#_bookmark20) 15
   4. [Observed versus Nominal Type I error rates](#_bookmark23) 17
   5. [High resolution Hamby 44 scans](#_bookmark27) 19
2. [Conclusions](#_bookmark29) 20

# Introduction

Same-source analyses are a major part of a Forensic Toolmark Examiner’s job. In cur- rent practice, examiners make these comparisons by visual inspection under a comparison microscope and come to one of the following four conclusions: identification, inconclusive, elimination or unsuitable for examination [(AFTE Glossary](#_bookmark31) [1998).](#_bookmark31) These conclusions are made on the basis of “unique surface contours” of the two toolmarks being in “sufficient agreement” [(AFTE Glossary](#_bookmark31) [1998).](#_bookmark31) AFTE describes the term “sufficient agreement” as the possibility of another tool producing the markings under comparison, as practically impossible [(AFTE Glossary 1998).](#_bookmark31) Potential subject bias in the assessment as well as the lack of specified error rates are the main points of criticisms first raised by the National Research Council in 2009 [(National Research Council 2009)](#_bookmark48) and later emphasized further by the President’s Council of Advisors on Science and Technology [(President’s Council of](#_bookmark49) [Advisors on Science and Technology 2016).](#_bookmark49)

Technological advances, such as profilometers and confocal microscopy allow to measure 3D surfaces in a high-resolution digitized form. This technology has become more accessible over the last decade, and has made its way into topological images of ballistics evidence, such as bullet lands and breech faces [(De Kinder et al. 1998,](#_bookmark39) [De Kinder & Bonifanti 1999,](#_bookmark38) [Bachrach](#_bookmark32) [2002,](#_bookmark32) [Vorburger et al.](#_bookmark52) [2016).](#_bookmark52) Digitized images of 3D surfaces of form the data basis of statistical analysis of toolmarks. A statistical approach based on data removes both subjectivity from the assessment and allows a quantification of error rates for both false positive and false negative identifications.

Methods for matching marks for a variety of tools have been studied in the literature (see [Table 1](#_bookmark1) for an overview): [Faden et al. (2007)](#_bookmark41) and [Chumbley et al. (2010)](#_bookmark36) have been analyzing screwdriver marks digitized using a profilometer; [Bachrach et al.](#_bookmark33) [(2010)](#_bookmark33) have investigated 3D marks from screwdriver, tongue and groove pliers captured using a confocal microscope; [Grieve et al. (2014](#_bookmark42)) have been investigated digitized marks from slip-joint pliers generated by a surface profilometer.

Analysis of these digitized markings require the use of statistical methods which can quan- tify the scientific mechanism of comparing markings and serve as basis for an error rate calculation. [Bachrach et al. (2010)](#_bookmark33) define a relative distance metric and use it as similarity

measure between two toolmarks. [Faden et al. (2007)](#_bookmark41) extract many small segments in the markings of two toolmarks and compare similarity using a maximum Pearson correlation coefficient. The Chumbley scoring method, first introduced by [Chumbley et al.](#_bookmark36) [(2010),](#_bookmark36) uses a similar but more extensive framework based on a Mann-Whitney U test of the re- sulting correlation coefficients. This approach is non-deterministic, because segments are chosen randomly. [(Hadler & Morris](#_bookmark44) [2017)](#_bookmark44) make the score deterministic for each pair of toolmarks by choosing segments for comparison systematically. This approach also ensures independence between segments of striae.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Research paper | Method | Data Source | False Positives | False Negatives |
| [**Faden et al.**](#_bookmark41)[**(2007)**](#_bookmark41) | Maximum Pearson  Correlation | Screwdrivers | - | - |
| [**Chumbley et al.**](#_bookmark36)[**(2010)**](#_bookmark36)  (Same-Surface Same-Angle) | Randomized  Chumbley Score | Screwdrivers | 2.3% | 8.9% |
| [**Grieve et al.**](#_bookmark42)[**(2014)**](#_bookmark42) | Randomized  Chumbley Score | Slip-joint | - | - |
| [**Hadler & Morris**](#_bookmark44)[**(2017)**](#_bookmark44)  (Same-Surface Same-Angle) | Deterministic  Chumbley Score | Screwdrivers | 0% | 6% |
| [**Bachrach et al.**](#_bookmark33)[**(2010)**](#_bookmark33)  (Different Surfaces-same angle) | Similarity Measure  Relative Distance Metric | Screwdrivers | 5.9% | 9.4% |
| (Same Surfaces-same angle) |  |  | 0.22% | 0% |

Table 1: Error Rates in same-source toolmark analysis reported in the literature. The top four reported papers use some variation of the Chumbley-score method.

In this paper, we are investigating the applicability of the Chumbley scoring method by [Hadler & Morris](#_bookmark44) [(2017)](#_bookmark44) to assess striation marks on bullet lands for same-source identi- fication. Striation marks on bullets are made by impurities in the barrel. As the bullet travels through the barrel, these imperfections leave “scratches” on the bullet surface (see top of [Figure](#_bookmark3) 1). Typically, only striation marks in the land engraved areas (LEAs) are considered [(AFTE Criteria for Identification Committee 1992).](#_bookmark30) Bullet lands are depressed areas between the grooves made by the rifling action of the barrel. Compared to toolmarks made by screwdrivers striation marks on bullets are typically much smaller, both in length and in width. Bullets also have a curved cross-sectional topography.

In same-source comparisons this curvature is usually removed using some form of Gaus- sian filter [(Ma et al. 2004)](#_bookmark47) or non-parametric smoothing [(Hare et al. 2016).](#_bookmark46) An overview of some of the error rates reported in the literature on bullet matching is given in [Ta-](#_bookmark2) [ble 2.](#_bookmark2) [Chu et al. (2013)](#_bookmark35) use an automatic method for counting consecutive matching striae (CMS). The authors report an error rate of 52% for known same-source land comparisons to be (incorrectly) identified as different-source (false negative) and zero false positives for known different-source lands. [Ma et al.](#_bookmark47) [(2004)](#_bookmark47) and [Vorburger et al.](#_bookmark51) [(2011)](#_bookmark51) discuss CCF (cross-correlation function) and its discriminating power and applicability for same-source analyses of bullets, but do not provide any error rates in their discussion. [Hare et al. (2016)](#_bookmark46) use multiple features, such as CCF, CMS, D (distance measure), etc. in a random forest based method and compare every land against every other land of digitized versions of Hamby 252 and Hamby 44 [(Hamby et al. 2009)](#_bookmark45) published on the NIST Ballistics Database [(Zheng 2016).](#_bookmark53) The authors report an out-of-bag overall error rate of 0.46%, comprised of an error rate of 30.05% of same-source pairs that were not identified and an error rate of 0.026% of different-source pairs that were incorrectly identified as same-source.

|  |  |  |  |
| --- | --- | --- | --- |
| Method | Data Source | False Positives | False Negatives |
| [**Hare et al.**](#_bookmark46)[**(2016)**](#_bookmark46) | LEAs |  |  |
| Consecutive Matching Bullets Striae (CMS) |  | 6.25% | 33.85% |
| Consecutive Non-matching Striae (CNMS) |  | 6.26% | 35.42% |
| Average Distance (D) |  | 6.25% | 45.83% |
| Cross-correlation Function (CCF) |  | 6.25% | 17.71% |
| Sum of Peaks (S) |  | 6.25% | 18.23% |
| [**Chu et al.**](#_bookmark35)[**(2013)**](#_bookmark35) | LEAs |  |  |
| Consecutive Matching Bullets Striae (CMS) |  | 0% | 52% |
| [**Chu et al.**](#_bookmark34)[**(2010)**](#_bookmark34) & [**Ma et al.**](#_bookmark47)[**(2004)**](#_bookmark47) | LEAs |  |  |
| Cross-Correlation Function (CCF) |  | - | - |

Table 2: Error Rates in same-source single feature land-to-land analysis reported in the literature.

The Chumbley score provides us with another approach in the same-source assessment of bullet striation marks. [Chumbley et al.](#_bookmark36) [(2010)](#_bookmark36) compare two toolmarks for same-source.




Figure 1: Image of a bullet land from a confocal light microscope at 20 fold magnification (top) and a chart of the corresponding signature of the same land (bottom). The dotted lines connect some peaks visible in both visualizations.

The data for this study was obtained from 50 sequentially manufactured screwdriver tips. [Chumbley et al. (2010)](#_bookmark36) report error rates for markings made by the tips at different angles. For markings made at 30 degree the authors report an average false negative error rate of

0.089 and an average false positive error rate of 0.023. For marks made under angles of 60 and 85 degrees, respectively, the false negatives error rate is 0.09 while the rate of false positives decreases to 0.01. The paper by [Hadler & Morris (2017)](#_bookmark44) is based on the same data but the authors focus on markings made under the same angle. The error rates associated with the deterministic version of the score are reported as 0.06 for false negatives and 0 for false positives.

In this paper we evaluate the adaptability of the Chumbley score as a measure to quantify

similarity in land engraved areas (LEAs) on bullets. For that we briefly introduce the deterministic method suggested by [Hadler & Morris (2017)](#_bookmark44) in section 2. In the process we provide methods to identify parameters that minimize the error rates. We then investigate persistent scenarios in which the method proposed by [Hadler & Morris](#_bookmark44) [(2017)](#_bookmark44) fails to come to a result. We go on to provide a solution to the failed tests problem, consequently increasing the power of the test and reducing error rates in the process. We set up a testing framework to compare the performance of the two algorithms in section 3 and finally discuss results in section 4.

# Methods

## Scans for land engraved areas

Comparisons of striae from bullets are usually based on comparisons of striae in land engraved areas, which are extracted in form of cross sections, called *profiles* [(Hare et al.](#_bookmark46) [2016,](#_bookmark46) [Ma et al. 2004).](#_bookmark47) From profiles bullet *signatures* [(Chu et al. 2013,](#_bookmark35) [Hare et al. 2016)](#_bookmark46) are extracted as residuals of a loess fit or Gaussian filter. This effectively removes topographic structure from the data in the attempt to increase the signal to noise ratio. [Figure 1](#_bookmark3) shows how the signature from a bullet land (bottom) lines up with the image of the land (top) from which it was extracted. We can see in the figure how the depth and relative position of the striation markings seen in the image are interpreted as peaks and valleys in the signature.

There are two sources of scans for sets from the Hamby study available to us: scans of Hamby 44 and Hamby 252 are available from the NIST database [(Zheng](#_bookmark53) [2016).](#_bookmark53) The physical Hamby 44 set has also been made available to us and has been scanned locally for CSAFE at the Roy J. Carver High Resolution Microscopy Facility using a Sensofar confocal light microscope. Scans in the NIST database are made with a NanoFocus at 20x magnification. The resolutions of the two instruments are different: the NIST scans are taken at a resolution of 1.5625 *µm* per pixel, while the CSAFE scans are available at a resolution of 0.645 *µm* per pixel. The length of an average bullet land from Hamby (9 mm Ruger P85) is about 2 millimeter, resulting in signatures of about 1200 pixels for NIST




Figure 2: Bullet land profile (left) and the corresponding signature (right) for one of the lands of Hamby-44.

scans, and about 3000 pixels for CSAFE scans.

In comparison, scans from the profilometer used by [Chumbley et al.](#_bookmark36) [(201](#_bookmark36)0), [Hadler &](#_bookmark44) [Morris](#_bookmark44) [(2017)](#_bookmark44) were taken at a resolution of about 0.73 *µm* per pixel. The screw driver toolmarks are about 7 mm in length (F[aden et al. 2007)](#_bookmark41), for a total of over 9000 pixels for the width of these scans.

This severe limitation in the amount of available data poses the main challenge in adapting the Chumbley score to matching bullet lands, because of the resulting loss in power.

## The Chumbley Score Test

A digitized toolmark forms a spatial process *z*(*t*) with location indexed by *t*. *t* here denotes equally spaced pixel locations for the striation marks under consideration. For a toolmark consisting of *t* pixels, *t* = 1*, ..., T* . Let further *zs*(*t*) denote a vector of markings of length *s* starting in location *t*.

The Chumbley score algorithm takes input in form of two digitized toolmarks:

Let *x*(*t*1), *t*1 = 1*,* 2*, ...T*1 and *y*(*t*2), *t*2 = 1*,* 2*...T*2 be two digitized toolmarks (where *T*1 and *T*2, the lengths of the two marks, are not necessarily equal). The toolmarks under consideration are potentially from two different-sources or the same-source.

In a pre-processing step the two markings are smoothed using a LOWESS [(Cleveland](#_bookmark37) [1979)](#_bookmark37) with coarseness parameter *c*. Originally, this smoothing is intended to remove drift and (sub)class characteristics from individual markings, however, in the setting of matching

bullet striae, we can also make use of this mechanism to separate bullet curvature in profiles from signatures before matching signatures. [Figure 2](#_bookmark6) shows an example of a bullet land profile (left) and the corresponding signature (right).

After removing sub-class structure, the Chumbley score is calculated in two steps: an optimization step and a validation step. In the optimization step, the two markings are aligned horizontally such that within a pre-defined window of length *wo* the correlation between *x*(*t*1) and *y*(*t*2) is maximized:

(*to, to*) = arg max cor (*xwo* (*t*1)*, ywo* (*t*2))

1 2

1≤*t*1≤*T*1−*wo,*1≤*t*2≤*T*2−*wo*

This results in an optimal vertical (in-phase) shift of *to* − *to* for aligning the two markings.

1

2

We will denote the relative optimal locations as *t*∗1 and *t*∗2, where *t*∗*i* = *to/*(*Ti* − *wo*) for *i* = 1*,* 2, such that *t*∗1*, t*∗2 ∈ [0*,* 1]. Once (sub-)class characteristics are removed, the relative optimal locations should be distributed according to a uniform distribution in [0*,* 1].

*i*

In the validation step, two sets of windows of size *wv* are chosen from both markings,

**??**see][]fig:win-comparison. In the first set, pairs of windows are extracted from the two markings using the optimal vertical shift as determined in the first step, whereas for the second set the windows are extracted using a different (out-of-phase) shift.

More precisely, let us define starting points *s*(*k*) for each signature *k* = 1*,* 2 as

*i*

*s*(*k*) = *t*∗*k* + *iwv* for *i <* 0

*i*

(1)

*t*∗*k* + *wo* + *iwv* for *i* ≥ 0*,*

for integer values of *i* with 0 *< s*(*k*) ≤ *Tk* − *wv*.

*i*

Same-shift pairs of length *wv* are defined in [Hadler & Morris (2017)](#_bookmark44) as all pairs (*s*(1)*, s*(2))

*i i*

with integer values *i* for which both *s*(1) and *s*(2) are defined. Similarly, different-shift pairs

*i i*

are defined as (*s*(1)*, s*(2) ) for all *i* where both *s*(1) and *s*(2)

are defined (see [Figure](#_bookmark9) 3).

*i* −*i*−1 *i* −*i*−1

For both same- and different-shift pairs correlations between the markings are calculated. The intuition here is that for two markings from the same-source the correlation for the in-phase sample should be high, while the correlations of the out-of-phase sample provide a measure for the base-level correlation for non-matching marks of a given length *wv*. The




Figure 3: Sketch of same-shift pairings (top) and different-shift pairings (bottom). Filled in rectangles show pairings resulting in correlations, unfilled rectangles are segments without a match.




Figure 4: Two same-source markings. For convenience, the markings are moved into phase on the left and out-of phase on the right. In-phase (left) and out-of-phase (right) samples are shown by the light grey background. The Chumbley-score is based on a Mann-Whitney U test of the correlations derived from these two sets of samples.

Chumbley score is then computed as a Mann Whitney U statistic to compare between in- phase sample and out-of-phase sample. In the original method proposed in [Chumbley et al.](#_bookmark36) [(2010)](#_bookmark36) both in-phase and out-of-phase sample are extracted randomly, whereas [Hadler &](#_bookmark44) [Morris (2017)](#_bookmark44) proposed the above specified deterministic rules for both samples to make the resulting score deterministic while simultaneously avoiding overlaps within selected marks to ensure independence.

## A problem with failed tests

Looking closer at [Equation 1,](#_bookmark8) we see that by definition, some number of tests will fail to produce a result. The problem of failed tests is first mentioned in [Grieve et al.](#_bookmark42) [(2014).](#_bookmark42) Unfortunately, the authors do not provide any percentage of how many tests failed for their data. The algorithm fails to produce for two reasons: either the number of eligible same-shift pairs is zero, or the number of different-shift pairs is zero.

2

The number of same-shift pairs will be zero, if the optimal locations *to*

1

and *to*

are so far

apart, that no segments of size *wv* are left on the same sides of the optimal locations, i.e.

*to < wv* and *to > T*2 − *wo* − *wv* or *to < T*1 − *wo* − *wv* and *to < wv*, i.e. we have a failure rate

1 2 1 2

of

*P* (*to < wv* ∩ *to > T*2 − *wo* − *wv*) + *P* (*to < T*1 − *wo* − *wv* ∩ *to < wv*) *.*

1

2

1

2

While we can assume that once (sub-)class characteristics are removed, optimal locations

*to* are uniformly distributed across the length of the profile, we cannot assume that *to* and

*i* 1

*to* are independent of each other. In particular, for same-source profiles, we would expect a strong dependency between these locations, in which case a large difference between locations is unlikely. However, for different-source matches, we can assume that locations

2

2*w*2

.

are independent. In that case, we expect a test to fail with a probability of

*v*

(*T*1−*wo*)(*T*2−*wo*)

For an average length of *Ti* of 1200 pixels, *wo* = 120 pixels and *wv* = 30 pixels this probability is about 0.0015.

The number of possible different-shift pairs also depends on the location of the optimal

locations *to* and *to*. Whenever the optimal locations are close to the boundaries, the number

1 2

of possible pairings decreases and reaches zero, if *t*(*o*) *< wv* or *t*(*o*) *> Ti* − *wo* − *wv*. Assuming

*i i*

a correlation between optimal locations *to* and *to* of close to one for same-source profiles,

1

2

this results in an expected rate of failure of 2*wv/*(*Ti* − *wo*), or about 5.6% for an average

length of *Ti* of 1200 pixels, *wo* = 120 pixels and *wv* = 30 pixels. Assuming independence in the optimal locations for different-source profiles the expected probability for a failed test

2*w*2

.

is, again,

*v*

(*T*1−*wo*)(*T*2−*wo*)

## A modified approach

While failures due to missing correlations from same-shift pairs are unavoidable by defini- tion of the Chumbley score, failures due to missing correlations from different-shift pairs can be prevented by using a different strategy in assigning pairs.

Using the same notation as in [Equation 1,](#_bookmark8) we define same-shift pairs identical to [Hadler &](#_bookmark44)

[Morris (2017)](#_bookmark44) as pairs (*s*(1)*, s*(2)) for all *i* where the boundary conditions of both sequences

*i i*

are met simultaneously. Let us assume that this results in *I* pairs. Define *s*(*k*)

(*j*)

to be the

*j*th starting location in sequence *k* = 1*,* 2, i.e. *s*(*k*) *< s*(*k*) *< ... < s*(*k*).

We then define the pairs for different-shifts as

(1)

(2)

(*I*)

(*s*(1)*, s*(1)

\ for *j* = 1*, ..., I* for even *I ,* (2)

(*j*) (*I*−*j*+1)

1*, ...,* (*I* − 1)*/*2*,* (*I* − 1)*/*2 + 2*, ..., I* for odd *I*

i.e. for an odd number of same-shift correlations, we skip the middle pair for the different- shift correlations (see [Figure](#_bookmark14) 5). This pairing ensures that the number of different-shift pairings is the same or at most one less than the number of same-shift pairings in all tests. In the remainder of the paper, we will refer to the algorithm defined by [Hadler & Morris (2017)](#_bookmark44) as **(CS1)** and the suggested modified algorithm as **(CS2)** and compare their performance on the available scans of the Hamby study. The section A of the Appendix discusses about the various scenarious of failed tests.

## Testing setup

### The Data

Lands for all Hamby-44 and Hamby-252 scans are made available through the NIST bal- listics database [(Zheng](#_bookmark53) [2016)](#_bookmark53) and are considered, here. Both of these sets of scans are




Figure 5: Sketch of adjusted different-shift pairings. At most one of the same-shift pairings can not be matched with a different-shift pair under algorithm (CS2).

part of the larger Hamby study [(Hamby et al.](#_bookmark45) [2009).](#_bookmark45) Each set consists of twenty known bullets (two each from ten consecutively rifled Ruger P85 barrels) and fifteen questioned bullets (each matching one of the ten barrels). Ground truth for both of these Hamby sets is known and was used to assess correctness of the tests results.

Profiles for each bullet land were extracted from scans close to the heel of the bullet while avoiding break-off as described in [Hare et al. (2016).](#_bookmark46)

### Setup

Both algorithms (CS1) and (CS2) are implemented in R (R [Core Team](#_bookmark50) [2018).](#_bookmark50) (CS1) is available from package toolmaRk [(Hadler 2017),](#_bookmark43) (CS2) is available from a modified version of the toolmaRk package available from GitHub (<https://github.com/heike/toolmaRk>). We applied both methods to all pairwise land-to-land comparisons of the Hamby scans provided by NIST for a total of 85,491 land-to-land comparisons.

# Results

## Failed Tests

As described above, the Chumbley-score is based on three parameters: coarseness *c* and the sizes of the optimization window *wo* and validation window *wv*. In a first run of results, we applied default settings for the parameters, as suggested in [Hadler & Morris](#_bookmark44) [(2017):](#_bookmark44) *wo* = 120 pixels or about 190 *µm* (ten percent of the average length of profiles) and coarseness *c* = 0*.*25, and varied the size of the validation window *wv* in steps of 10 from 10 pixels to 60 pixels. Based on a significance level *α* of 0.05 for the test, this results in




Figure 6: Percent of failed land-to-land comparisons using an optimization window *wo* = 120 and a coarseness of *c* = 0*.*25. With an increase in the size of the validation window a higher percentage of tests fails under both methods (CS1) and (CS2), but the percentage of failed tests is much smaller under (CS2). Observed failure rates of (CS1) are higher than expected rates.

a correct identification of same-source and different-source toolmarks of 93.5% to 94.1%, corresponding to a rate of false negatives between 0.28 and 0.36 and a rate of false positives between 0.05 and 0.06. However, the most prominent result we encountered, are the high number of failed tests, i.e. the number of instances, in which CS1 did not return any result. [Figure 6](#_bookmark18) shows the percentage of failed tests among the 85,491 land-to-land comparisons of the NIST data for different values of the validation window size *wv*. For same-source lands up to 12.5 percent of the tests fail using CS1. The highest percentage of failed tests under CS2 is 1.3% for different-source tests using a validation window size *wv* of 60 pixels. Rates of expected failures are based on simulation runs using covariances between locations of same-source profiles of 0.854, and 0.120 for locations from different-source profiles, matching observed covariances for the Hamby scans. Observed failure rates are higher than expected. This might be due to remaining sub-class structure at a coarseness of 0.25 resulting in a distribution of optimal locations different from the assumed uniform.

## Coarseness

The purpose of the coarseness parameter is to remove (sub-)class characteristics from pro- files before comparisons for matching. [Hadler & Morris](#_bookmark44) [(2017)](#_bookmark44) suggest a coarseness pa-

rameter of 0.25 in the setting of toolmark comparisons. For bullet lands, coarseness might need to be adjusted because of the strong effect bullet curvature has on profiles.

[Figure 7](#_bookmark21) gives an overview of the effect of different coarseness parameters: from left to right, coarseness levels *c* are varied in steps of 0.05 from 0.1 to 0.3. The top row shows resulting signatures after smoothing the profile shown in [Figure 2](#_bookmark6) with different levels

of coarseness. The histograms in the bottom row show the relative optimal location *t*∗.

Optimal locations are distributed uniformly once (sub-)class characteristics are removed. However, for coarseness values of *c >* 0*.*20 we see quite distinct boundary effects: optimal locations *t*∗ are found at the very extreme ends of a profile more often than one would

expect based on a uniform distribution.

The key effect of the optimal locations and thereby the coarseness is seen in the number of failed tests. Irrespective of whether CS1 or CS2 is being used, if the relative optimal locations are at the boundaries we will see an increase in the number of failed tests. A balance is therefore needed in the selection of the coarseness parameter which reduces the boundary effect but does not remove important individual characteristics. Based on [Figure 7](#_bookmark21) a coarseness value of *c* = 0*.*15 seems to be best suited to strike this balance for this example. For the remainder of the analysis, we will use this value for *c*.

## Error rate assessment

[Figure 8](#_bookmark22) gives an overview of ROC (Receiver operating characteristic) curves for methods CS1 and CS2 over a range of different optimization window sizes *wo* and two sizes for the validation window *wv* (shape). The different color hues represent the two methods CS1 (red) and CS2 (blue). The ROC curves show the superior performance of CS2 over CS1. Generally, an optimization window *wo* of 150 pixels or more leads to the best performance with respect to ROC curves. Results based on a validation window of size *wv* = 30 are generally better than results for *wv* = 50.

[Figure 9](#_bookmark24) shows a comparison of the performance of the two methods CS1 and CS2 with respect to EER (equal error rate) and AUC (area under the curve) corresponding to the ROC curves shown in [Figure 8.](#_bookmark22) Equal error rates are reduced using method CS2, while area under the curve significantly increases (at a significance level *α* of 0.05) compared to




Figure 7: Overview of the effect of different coarseness parameters *c* on the profile shown in Figure [2](#_bookmark6) (top). The bottom row shows histograms of the (relative) optimal locations *to* identified in the optimization step for different values of the coarseness parameter *c*.




Figure 8: ROC curves of methods CS1 and CS2 for different sizes of optimization window *wo*. Best performances with respect to ROC curves are reached for optimization windows of sizes 150 and higher. Points of equal error rates (EERs) can be found at the intersection of the dotted line and the ROC curves.

method CS1.

The results from Figures [8](#_bookmark22) and [9](#_bookmark24) are summarized in numbers in [Table 3.](#_bookmark25) Equal error rates (EER), rates for false positives (FPR) and false negatives (FNR) are shown side by side with the area under the curve (AUR) for both methods for a set of different optimization windows *wo* and a validation window *wv* of 30 pixels. The rate of false positive same-source identifications is equal to the statistical type I error rate, which is set to *α* = 0*.*05 for this example. The rate of false negatives are missed same-source markings. This rate is also known as the type II error rate. A detailed plot on the type II error rates for CS1 and CS2 can be found in the section B of the Appendix.

Area under the curve (AUC) is shown with confidence intervals as given by [DeLong et al.](#_bookmark40) [(1988).](#_bookmark40) CS2 significantly outperforms CS1 with respect to its predictive power in most situations.

## Observed versus Nominal Type I error rates

[Figure 10](#_bookmark26) shows observed type I error rates (FPR) across a range of optimization windows

*wo*. Generally, observed type I errors are higher than expected. Method CS1 shows in this




Figure 9: Comparison of results for CS1 and CS2 using area under the curve (AUC) and equal error rates (EER).

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *wo* | **CS1**  **FPR** | **FNR** | **AUC (95% C.I.)** | **CS2**  **FPR** | **FNR** | **AUC (95% C.I.)** |
| 90 | 0.068 | 0.330 | 0.850 (0.835, 0.865) | 0.075 | 0.242 | 0.877 (0.863, 0.890) |
| 120 | 0.065 | 0.309 | 0.864 (0.850, 0.878) | 0.072 | 0.236 | 0.890 (0.877, 0.903) |
| 130 | 0.065 | 0.317 | 0.863 (0.850, 0.877) | 0.072 | 0.224 | 0.898 (0.886, 0.910) |
| 140 | 0.065 | 0.304 | 0.873 (0.859, 0.886) | 0.071 | 0.229 | 0.902 (0.891, 0.914) |
| 150 | 0.067 | 0.326 | 0.863 (0.850, 0.877) | 0.072 | 0.225 | 0.904 (0.892, 0.916) |
| 180 | 0.061 | 0.326 | 0.877 (0.864, 0.890) | 0.070 | 0.229 | 0.907 (0.896, 0.919) |
| 210 | 0.064 | 0.342 | 0.865 (0.851, 0.878) | 0.066 | 0.231 | 0.906 (0.895, 0.918) |

Table 3: Overview of results as shown in Figures [8](#_bookmark22) and [9.](#_bookmark24) FPR is the observed rate of false positives (for a fixed level *α* = 0*.*05), FNR is the false negative rate. Area under the curve (AUC) is shown with confidence intervals.




Figure 10: Comparison of observed and nominal type I error rates across a range of window sizes for optimization *wo*. The horizontal line in each facet indicates the nominal type I error rate.

instance slightly better performance than method CS2, but for both an increase in the size of the optimization window leads to a decrease in the observed type I error rates.

## High resolution Hamby 44 scans

The high-resolution scans of Hamby set 44 are capturing images at a resolution of 0*.*645*µm* per pixel. On average, land engraved areas are 3000 pixels in length. A coarseness of *c* =

0*.*125 seemed to be sufficient in removing any bullet curvature. Both methods have a failed test rate of less than 0.006, indicating, again, that the larger number of pixels alleviates the problem of test failures. [Figure 11](#_bookmark28) shows the resulting EER and AUC for methods CS1

and CS2 based on two sizes of validation windows (*wv* ∈ 75*,* 125) and optimization window

sizes around 300 pixels (10 percent of the average length). Both methods show an increase




Figure 11: AUC and EER for methods CS1 and CS2 based on high resolution scans of Hamby 44.

in performance around *wo* = 300 pixels. CS2 out-performs CS1 in all scenarios, but the difference is not significant (using DeLong’s confidence intervals). Interestingly, the overall performance of both CS1 and CS2 is a lot lower for the high resolution version of Hamby-44 than for the lower resolution scans. The area under the curve overall is significantly lower for the high resolution scans than for the previous set of scans. Partly, this might be due to the particular choice of the parameters, partly the higher-resolution scans might be picking up on real differences between the lands that the lower-resolution scans fail to detect.

# Conclusions

In assessing the suitability of the (deterministic) Chumbley Score for matching striae on bullet lands we have gained valuable insights into the process: method CS1 as proposed by [Hadler & Morris (2017)](#_bookmark44) has a strong dependency on the specific choice of parameters; the

defaults suggested by [Hadler & Morris (2017)](#_bookmark44) for screw drivers are not directly applicable for the smaller bullet lands. The coarseness parameter in particular has a strong impact on the performance of the test. However, we were able to suggest some heuristics based on the assumption that once sub-class characteristics are removed, optimal locations are distributed uniformly across the profile. For bullet lands we found a coarseness value of *c* = 0*.*15 to be suitable for the low-resolution scans from NIST and a value of *c* = 0*.*125 suitable for the higher-resolution scans from CSAFE. Sizes for optimization windows *wo* were based on cross-validation to minimize overall type 2 error rates. Unfortunately, this kind of assessment is only feasible in the setting of a large study, such as the one we presented, and does not transfer immediately to case work, where a forensic examiner would only deal with a few identifications. Parameter settings for different studies should be investigated and reported to allow for a further refinement.

Method CS1 proposed by [Hadler & Morris (2017)](#_bookmark44) has a minimal type 2 error rate of 0.272 for an optimized window size of 140 pixels – which is considerably higher than the error rates achieved on matching toolmarks, but is similar to other single-feature methods proposed for bullet matching. Unfortunately, method CS1 also has a high rate of failed tests – situations, in which the algorithm does not provide a result, due to the way different-shift pairs are constructed. Algorithm CS2 is introduced here as a remedy for failed tests by introducing an alternate version of choosing different-shift pairs. The algorithm CS2 introduced here is constructed in a way that achieves on average a ten-fold reduction in the number of failures. While reducing the failure rate, the algorithm also shows an increase in the power of the test. Type II error rates of CS2 reach a minimum of 0.217 for an optimized window size of 130 pixels. This increase in power of CS2 over CS1 should also apply to previous studies on toolmarks. It would be interesting to see these results using the adjusted algorithm. Unfortunately, none of the studies have made the data publicly accessible.

While significantly reduced over CS1, CS2 still has type 2 error rates on bullet lands that are higher than the error rates achieved on the –much larger– toolmarks. Applying these methods to the high-resolution scans provided by CSAFE shows that better scanning methodology does not guarantee a better matching performance.

However, bullets usually have multiple lands – in the case of Ruger P85s as used in the

Hamby study, there are six lands for each bullet. We might be able to get more power out of the test by adapting CS2 to work in a bullet-to-bullet comparison.

# References

AFTE Criteria for Identification Committee (1992), ‘Theory of identification, range striae comparison reports and modified glossary definitions’, *AFTE Journal* **24**, 336–340.

AFTE Glossary (1998), ‘Theory of identification as it relates to toolmarks’, *AFTE Journal*

**30**, 86–88.

Bachrach, B. (2002), ‘Development of a 3d-based automated firearms evidence comparison system’, *Journal of Forensic Sciences* **47**(6), 1253–1264.

Bachrach, B., Jain, A., Jung, S. & Koons, R. (2010), ‘A statistical validation of the indi- viduality and repeatability of striated tool marks: Screwdrivers and tongue and groove pliers’, *Journal of Forensic Sciences* **55**(2), 348–357.

Chu, W., Song, J., Vorburger, T. V., Yen, J., Ballou, S. & Bachrach, B. (2010), ‘Pilot study of automated bullet signature identification based on topography measurements and correlations’, *Journal of Forensic Sciences* **55**, 341–347.

Chu, W., Thompson, R. M., Song, J. & Vorburger, T. V. (2013), ‘Automatic identifica- tion of bullet signatures based on consecutive matching striae (cms) criteria.’, *Forensic Science International* **231**, 137–141.

Chumbley, L. S., Morris, M. D., Kreiser, M. J., Fisher, C., Craft, J., Genalo, L. J., Davis, S., Faden, D. & Kidd, J. (2010), ‘Validation of tool mark comparisons obtained using a quan- titative, comparative, statistical algorithm’, *Journal of Forensic Sciences* **55**(4), 953–961. **URL:** [*http://dx.doi.org/10.1111/j.1556-4029.2010.01424.x*](http://dx.doi.org/10.1111/j.1556-4029.2010.01424.x)

Cleveland, W. S. (1979), ‘Robust locally weighted regression and smoothing scatterplots’,

*Journal of the American Statistical Association* **74**(368), 829–836.

De Kinder, J. & Bonifanti, M. (1999), ‘Automated comparison of bullet striations based on 3d topography’, *Forensic Science International* **101**, 85–93.

De Kinder, J., Prevot, P., Pirlot, M. & Nys, B. (1998), ‘Surface topology of bullet striations: an innovating technique’, *AFTE Journal* **30**(2), 294–299.

DeLong, E. R., DeLong, D. M. & Clarke-Pearson, D. L. (1988), ‘Comparing the areas under two or more correlated receiver operating characteristic curves: A nonparametric approach’, *Biometrics* **44**(3), 837–845.

**URL:** [*http://www.jstor.org/stable/2531595*](http://www.jstor.org/stable/2531595)

Faden, D., Kidd, J., Craft, J., Chumbley, L. S., Morris, M. D., Genalo, Lawrence J.and Kreiser, M. J. & Davis, S. (2007), ‘Statistical confirmation of empirical obser- vations concerning toolmark striae’, *AFTE Journal* **39**(2), 205–214.

Grieve, T., Chumbley, L. S., Kreiser, J., Ekstrand, L., Morris, M. & Zhang, S. (2014), ‘Objective comparison of toolmarks from the cutting surfaces of slip-joint pliers’, *AFTE Journal* **46**(2), 176–185.

Hadler, J. (2017), ‘toolmaRk: Tests for Same-Source of Toolmarks’. R package version 0.0.1, [Online; accessed 19-March-2018].

**URL:** [*https: // github. com/ heike/ toolmaRk*](https://github.com/heike/toolmaRk)

Hadler, J. R. & Morris, M. D. (2017), ‘An improved version of a tool mark comparison algorithm’, *Journal of Forensic Sciences* pp. n/a–n/a.

**URL:** [*http://dx.doi.org/10.1111/1556-4029.13640*](http://dx.doi.org/10.1111/1556-4029.13640)

Hamby, J. E., Brundage, D. J. & Thorpe, J. W. (2009), ‘The Identification of Bullets Fired from 10 Consecutively Rifled 9mm Ruger Pistol Barrels: A Research Project Involving 507 Participants from 20 Countries’, *AFTE Journal* **41**(2), 99–110.

Hare, E., Hofmann, H. & Carriquiry, A. (2016), ‘Automatic Matching of Bullet Lands’,

*Annals of Applied Statistics* .

Ma, L., Song, J., Whitenton, E., Zheng, A., Vorburger, T. V. & Zhou, J. (2004), ‘NIST bullet signature measurement system for RM (Reference Material) 8240 standard bullets’, *Journal of Forensic Sciences* **49**, 649–659.

National Research Council (2009), *Strengthening Forensic Science in the United States: A Path Forward*, The National Academies Press, Washington, DC. [Online; accessed 25-April-2018].

**URL:** [*http://www.nap.edu/catalog/12589/strengthening-forensic-science-in-the-united-*](http://www.nap.edu/catalog/12589/strengthening-forensic-science-in-the-united-) *states-a-path-forward*

President’s Council of Advisors on Science and Technology (2016), ‘Report on forensic science in criminal courts: Ensuring scientific validity of feature-comparison methods’. [Online; accessed 25-April-2018].

**URL:** [*https: // obamawhitehouse. archives. gov/ sites/ default/ files/*](https://obamawhitehouse.archives.gov/sites/default/files/microsites/ostp/PCAST/pcast_forensic_science_report_final.pdf)[*microsites/ ostp/ PCAST/ pcast\_ forensic\_ science\_ report\_ final. pdf*](https://obamawhitehouse.archives.gov/sites/default/files/microsites/ostp/PCAST/pcast_forensic_science_report_final.pdf)

R Core Team (2018), *R: A Language and Environment for Statistical Computing*, R Foun- dation for Statistical Computing, Vienna, Austria.

**URL:** [*https://www.R-pr*](http://www.R-project.org/)*oject.or*[*g/*](http://www.R-project.org/)

Vorburger, T., Song, J., Chu, W., Ma, L., Bui, S., Zheng, A. & Renegar, T. (2011), ‘Applications of cross-correlation functions’, *Wear* **271(3-4)**.

**URL:** *https://doi.org/10.1016/j.wear.2010.03.030.*

Vorburger, T., Song, J. & Petraco, N. (2016), ‘Topography measurements and applications in ballistics and tool mark identifications. surface topography: metrology and properties’, *Surface topography: metrology and properties* **4(1)**.

Zheng, X. A. (2016), ‘NIST Ballistics Toolmark Research Database (NBTRB)’. [Online; accessed 19-March-2018].

**URL:** [*https: // tsapps. nist. gov/ NRBTD*](https://tsapps.nist.gov/NRBTD)